## Log
Legionella / Water Temperature Log
Birkdale Village Care Home · Monthly outlet temps + weekly flushing · Procedure HS-03
START HERE: Monthly: check hot (should be hot, 50C+) and cold (should be cold, 20C or below) at the sentinel outlets. Weekly: flush little-used outlets and tick. Out of range = tell the responsible person.
Date | Outlet / location | Hot temp (50C+) | Cold temp (20C or less) | Little-used outlet flushed | In range? | Action if out of range | Checked by
e.g. 12/06/2026 | Room 4 hand basin | 55 | 18 | Yes | Yes | - | Maintenance