Standard Operating Procedure

Fire Safety and Evacuation (including PEEPs)

| SOP Reference | HS-01 |
| --- | --- |
| Category | Health & Safety |
| Risk Level | CRITICAL |
| Applies to | All staff |
| Version | 1.0 (DRAFT for manager review) |
| Date created | June 2026 |
| Review date | June 2027 (review at least annually) |
| Owner / approver | Andrea Tomkins (Registered Manager) |

# 1. Purpose

To protect residents, staff and visitors from fire, ensure everyone knows what to do if a fire occurs, and that every resident has a personal evacuation plan (PEEP) suited to their needs.

# 2. When this procedure applies (the trigger)

- Daily/weekly fire safety checks and tests.

- Discovery of a fire or activation of the fire alarm.

- A new admission (create their PEEP) or change in a resident's mobility.

# 3. What to do — step by step

## Prevention & checks

- Carry out and record routine checks: weekly alarm test, fire exits clear and unlocked, fire doors closing, extinguishers in place, emergency lighting working, escape routes unobstructed.

- Ensure the fire risk assessment is current and any actions completed. Service alarm/detection and equipment on schedule.

- Maintain a PEEP (Personal Emergency Evacuation Plan) for every resident, reflecting their mobility and support needs, and a 'grab pack' / evacuation info accessible to staff and the fire service.

## If the alarm sounds / fire is found

- Raise the alarm. If you discover a fire, operate the nearest call point.

- Call 999 for the fire service.

- Follow the home's fire plan: do not tackle fire unless trained, safe and the escape route is clear.

- Evacuate per residents' PEEPs to the assembly point / progressive horizontal evacuation as designed.

- Account for everyone using the resident list/roll call. Tell the fire service of anyone unaccounted for.

- Do not re-enter until the fire service declares it safe. Record the incident and notify CQC where required.

# 4. Do and Don't summary

| ✓ WHAT YOU SHOULD DO - Do weekly alarm tests and daily exit/route checks - Keep a current PEEP for every resident - Raise the alarm and call 999 immediately - Evacuate per PEEPs and account for everyone - Wait for the fire service before re-entering | ✗ WHAT YOU SHOULD NOT DO - Do NOT block, wedge or lock fire exits/doors - Do NOT tackle a fire if untrained or unsafe - Do NOT evacuate without checking PEEPs - Do NOT re-enter the building until told it's safe - Do NOT skip recording checks and tests |
| --- | --- |

# 5. Who to contact

| Fire & rescue (emergency) | 999 |
| --- | --- |
| Manager / responsible person | Name: Andrea Tomkins Tel: 01704 564801 / 07912 939719 |
| Fire alarm/equipment service contractor | ______________ |
| CQC (if notifiable) | 03000 616161 |

# 6. Recording

Where to record this: use the Fire Safety Check & Drill Log (in Forms & Logs) for the weekly alarm test, checks and drills, and complete a PEEP Template for every resident.

Keep the fire risk assessment, test/check logs, drill records, servicing certificates and PEEPs. The fire service and CQC inspect these. Carry out and record regular fire drills.

# 7. Related procedures

- CQC notifications SOP (SG-02)

- Accident/incident SOP (SG-03)

- Equipment servicing SOP (HS-04)

# 8. Manager review checklist

Confirm: a current fire risk assessment exists; the responsible person is named; PEEPs exist for all residents; drill frequency and servicing schedule are set; contractor details filled in. Complete header boxes and mark 'Done'.