Standard Operating Procedure

Legionella and Water Temperature Safety

| SOP Reference | HS-03 |
| --- | --- |
| Category | Health & Safety |
| Risk Level | HIGH |
| Applies to | Maintenance / nominated responsible person |
| Version | 1.0 (DRAFT for manager review) |
| Date created | June 2026 |
| Review date | June 2027 (review at least annually) |
| Owner / approver | Andrea Tomkins (Registered Manager) |

# 1. Purpose

To control the risk of Legionella bacteria in the water system, and to prevent scalding, protecting residents and staff. This is a legal duty under health & safety law.

# 2. When this procedure applies (the trigger)

- Routine scheduled water safety checks.

- After the water system has been altered or little-used outlets identified.

- Following the water risk assessment recommendations.

# 3. What to do — step by step

- Ensure a Legionella risk assessment is in place and current, with a written control scheme.

- Carry out and record the scheduled tasks: monthly temperature checks at sentinel outlets (hot ≥ the required temperature, cold below the required temperature), and flushing of little-used outlets weekly.

- Check and record hot water storage and distribution temperatures as specified.

- Descale and clean showerheads/outlets on schedule.

- Manage scalding risk: ensure thermostatic mixing valves (TMVs) are fitted/serviced where vulnerable residents are at risk.

- Act on any out-of-range results and report to the responsible person/contractor.

- Keep all records and review the risk assessment periodically.

# 4. Do and Don't summary

| ✓ WHAT YOU SHOULD DO - Keep a current Legionella risk assessment & control scheme - Do and record monthly temperature checks - Flush little-used outlets weekly - Service TMVs to prevent scalding - Act on and record out-of-range results | ✗ WHAT YOU SHOULD NOT DO - Do NOT skip scheduled flushing/temperature checks - Do NOT ignore out-of-range temperatures - Do NOT leave outlets unused without flushing - Do NOT overlook scalding risk for vulnerable residents - Do NOT lose the records — they prove compliance |
| --- | --- |

# 5. Who to contact

| Responsible person / maintenance | Name: Andrea Tomkins Tel: 01704 564801 / 07912 939719 |
| --- | --- |
| Water hygiene / Legionella contractor | ______________ |
| Plumber | Tel: ______________ |

# 6. Recording

Where to record this: use the Legionella / Water Temperature Log (in Forms & Logs) for the monthly outlet temperatures and weekly flushing.

Maintain the water risk assessment, the written scheme, and all monitoring logs. The HSE and CQC may inspect these.

# 7. Related procedures

- Equipment servicing SOP (HS-04)

- Health & safety / maintenance records

# 8. Manager review checklist

Confirm: a Legionella risk assessment and schedule exist; the responsible person and contractor are recorded; TMVs are serviced; logs are kept. Complete header boxes and mark 'Done'.